## Slide 1: The proper care and feeding of your CVD 700

## Slide 2
Probe with Geiger Mueller tube
Meter
Check Source
Range Switch

## Slide 7
Units of Dose and Exposure
Roentgen (R) - unit of exposure - ionization of air by x or gamma rays
  mR = milliRoentgen
RAD (Radiation Absorbed Dose) - energy deposited in material (Gray (Gy) is international unit)
rem - (Roengten Equivalent Man)
  unit of dose equivalent (Avg. US dose 620 mrem)
  Seivert (Sv) is international unit

## Slide 8
Units of Radioactivity
Activity – rate of decay
- the number of emissions (of radiation) per unit time.
dps - disintegrations per second
Bequerel = 1 dps
Curie = 37,000,000,000 dps
Picocurie = 0.037 dps or 2.2 dpm
CPM = counts per minute